## Short_Supply_POwise638671758848
Short Supply Report
From 01-01-2020 To 14-11-2024
Page 1 of 1
Total Records: 34 Records 1 To 34
Project Name | Supplier Name | PO Sr No | PO Date | Rate | PO Qty | Material Name | Brand | Unit | Recd Qty | Bal Qty | Bal %
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 5736 | 2023-07-22 11:59 | 32733.2 | 1 | DISTRIBUTION BOARD 1000 X 450 |  | NOS | 0 | 1 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 5736 | 2023-07-22 11:59 | 9381 | 1 | DISTRIBUTON BOARD 400 X 500 |  | NOS | 0 | 1 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 283.2 | 435 | DWC 180/150 MM DIA PIPE WITH COUPLER (RMT) |  | RMT | 120 | 315 | 72.4138
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 4543 | 62 | CENTRIFUGAL CAST IRON PIPE 75 MM DIA 2.9/3 MTR |  | NOS | 60 | 2 | 3.2258
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 60947 | 1 | DISTRIBUTION BOX |  | NOS | 0 | 1 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 122.72 | 890 | DWC 90/75 MM DIA PIPE WITH COUPLER |  | RMT | 700 | 190 | 21.3483
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 1510.4 | 440 | 3C x 240 SQMM ALU. ARMOURED XLPE HT CABLE (RMT) |  | RMT | 250 | 190 | 43.1818
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 3540 | 19 | 8 SWG GI EARTH WIRE (NOS) |  | NOS | 0 | 19 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 11646.6 | 16 | CENTRIFUGAL CAST IRON PIPE 100 MM DIA 3 MTR - 13MM THK |  | NOS | 0 | 16 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 3339.4 | 14 | 3C x 240 SQMM XLPE HT CABLE TERMINATION (NOS) |  | NOS | 0 | 14 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 3492.8 | 14 | 3C x 240 SQMM XLPE HT CABLE TERMINATION (NOS) |  | NOS | 0 | 14 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 3009 | 2 | 3C x 70 SQMM XLPE HT CABLE TERMINATION |  | NOS | 0 | 2 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 619.5 | 240 | 1C x 300 SQMM ALU. ARMOURED XLPE LT CABLE TERMINATIONS |  | NOS | 0 | 240 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 342.2 | 155 | 200 x 50/75 x 1.6 GI LADDER TYPE CABLE TRAY |  | RMT | 62.5 | 92.5 | 59.6774
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 1829 | 4 | 3.5C x 120 SQMM ALU. ARMOURED XLPE LT CABLE TERMINATIONS |  | NOS | 0 | 4 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 649 | 6 | 3.5C x 25 SQMM ALU. ARMOURED XLPE LT CABLE TERMINATIONS |  | NOS | 0 | 6 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 2666.8 | 6 | 3C x 70 SQMM XLPE HT CABLE TERMINATION |  | NOS | 0 | 6 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 483.8 | 252 | 600 x 50/75 x 1.6 GI LADDER TYPE CABLE TRAY |  | RMT | 235 | 17 | 6.746
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 101008 | 2 | LOAD BREAKE SWITCH |  | NOS | 0 | 2 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 502562 | 1 | DISTRIBUTION BOX |  | NOS | 0 | 1 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 148562 | 1 | DISTRIBUTION BOX |  | NOS | 0 | 1 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 424.8 | 3670 | 1C x 300 SQMM ALU. ARMOURED XLPE LT CABLE |  | RMT | 0 | 3670 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 578.2 | 198 | 3.5C x 120 SQMM ALU. ARMOURED XLPE LT CABLE (RMT) |  | RMT | 65 | 133 | 67.1717
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 6541 | 2023-12-28 15:00 | 34220 | 3 | DISTRIBUTION BOX |  | NOS | 0 | 3 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7032 | 2024-04-11 13:51 | 32733.2 | 1 | DISTRIBUTION BOARD 1000 X 450 |  | NOS | 0 | 1 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7032 | 2024-04-11 13:51 | 9381 | 1 | DISTRIBUTON BOARD 400 X 500 |  | NOS | 0 | 1 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7674 | 2024-09-09 10:52 | 10738 | 5 | DISTRIBUTON BOARD 400 X 500 |  | NOS | 0 | 5 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7674 | 2024-09-09 10:52 | 35848.4 | 5 | DISTRIBUTION BOARD 1000 X 450 |  | NOS | 0 | 5 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7674 | 2024-09-09 10:52 | 36957.6 | 5 | DISTRIBUTION BOARD 1000 X 450 |  | NOS | 0 | 5 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7674 | 2024-09-09 10:52 | 13924 | 5 | DISTRIBUTION BOARD 400 X 600 |  | NOS | 0 | 5 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7674 | 2024-09-09 10:52 | 10313.2 | 5 | DISTRIBUTON BOARD 400 X 500 |  | NOS | 0 | 5 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7690 | 2024-09-13 10:14 | 29.5 | 470 | 1" PVC PIPE |  | RMT | 0 | 470 | 100
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7690 | 2024-09-13 10:14 | 861.4 | 1560 | 25X3 MM COPPER FLAT (MTR) |  | RMT | 1100 | 460 | 29.4872
GREENWOOD ASPIRE EXP | TRANSCUBE ENGINEERS PVT LTD | 7690 | 2024-09-13 10:14 | 153.4 | 780 | 8 SWG COPPER EARTH WIRE (RMT) |  | RMT | 0 | 780 | 100