## Project_Work_Order6385863905990
Project Work Order
From 14 Jul 2005 To 08 Aug 2024
Page 1 of 1
Total Records: 90 Records 1 To 90
Project | WO No | Revision | Wo_Date | Contrator | Task Name | Labour Name | Unit_Name | Qty | Rate | Amount | TaxAmt | Total_amount | Retaintion% | Bill Qty | Bill Amount | Bill_Tax_Amount | Total_Bill_Amount | Bal.Bill Qty | Bal.Bill Amount | Specification | Building | User_Category | PreparedBy | Approved_By | WO_Type | WO_Creation_Date | WO_Type2
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | CHARGES FOR 2 WAY inlet connection | NOS | 3 | 500 | 1500 | 270 | 1770 | 5 | 0 | 0 | 0 | 0 | 3 | 0 | USE FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for Air Vessel | NOS | 1 | 1000 | 1000 | 180 | 1180 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for ball valve - 25mm Dia. | NOS | 4 | 150 | 600 | 108 | 708 | 5 | 0 | 0 | 0 | 0 | 4 | 0 | FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for ball valve - 40mm Dia. | NOS | 2 | 150 | 300 | 54 | 354 | 5 | 0 | 0 | 0 | 0 | 2 | 0 | FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for ball valve - 50mm Dia. | NOS | 4 | 150 | 600 | 108 | 708 | 5 | 0 | 0 | 0 | 0 | 4 | 0 | FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | charges for butterfly valve - 100mm Dia. | NOS | 5 | 320 | 1600 | 288 | 1888 | 5 | 1 | 320 | 80956.8 | 530716.8 | 4 | -528828.8 | FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | CHARGES FOR CONTROL PANEL (NOS) | NOS | 6 | 3000 | 18000 | 3240 | 21240 | 5 | 0 | 0 | 0 | 0 | 6 | 0 | fire alaram system |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | CHARGES FOR MCP (NOS) | NOS | 60 | 400 | 24000 | 4320 | 28320 | 5 | 0 | 0 | 0 | 0 | 60 | 0 | fire alaram system |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR CONDUIT PIPE 25MM (MTR) | RMT | 3300 | 10 | 33000 | 5940 | 38940 | 5 | 0 | 0 | 0 | 0 | 3300 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR HOOTER CUM STROBE (NOS) | NOS | 60 | 400 | 24000 | 4320 | 28320 | 5 | 0 | 0 | 0 | 0 | 60 | 0 | fire alaram system |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR CONVENTIONAL SMOKE DETECTOR | NOS | 57 | 400 | 22800 | 4104 | 26904 | 5 | 0 | 0 | 0 | 0 | 57 | 0 | SMOKE DETECTION |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | CHARGES FOR 2 C x 1 SQMM FRLS CABLE (RMT) | RMT | 1500 | 40 | 60000 | 10800 | 70800 | 5 | 0 | 0 | 0 | 0 | 1500 | 0 | FIRE ALARAM SYSTEM |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 65MM DIA Butterfly valve (Wafer Type) | NOS | 4 | 200 | 800 | 144 | 944 | 5 | 0 | 0 | 0 | 0 | 4 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 80 mm dia. G I HEAVY " C class" pipe | RMT | 235 | 360 | 84600 | 15228 | 99828 | 5 | 0 | 0 | 0 | 0 | 235 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 80MM DIA Butterfly valve (Wafer Type) | NOS | 4 | 240 | 960 | 172.8 | 1132.8 | 5 | 0 | 0 | 0 | 0 | 4 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR Pressure Gauge 100 mm dial & range of 0-20KG/CM2 | NOS | 1 | 200 | 200 | 36 | 236 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 50 mm dia. G I HEAVY " C class" pipe | RMT | 135 | 240 | 32400 | 5832 | 38232 | 5 | 0 | 0 | 0 | 0 | 135 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | CHARGES FOR 2 C x 1 SQMM FRLS CABLE (RMT) | RMT | 1800 | 40 | 72000 | 12960 | 84960 | 5 | 0 | 0 | 0 | 0 | 1800 | 0 | fire alaram system |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150MM DIA Butterfly valve (Wafer Type) | NOS | 7 | 480 | 3360 | 604.8 | 3964.8 | 5 | 0 | 0 | 0 | 0 | 7 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150MM DIA Cast Iron Non Return valve (IS 5312-1) | NOS | 2 | 480 | 960 | 172.8 | 1132.8 | 5 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150MM Dual plate check valve (Wafer Type) | NOS | 3 | 480 | 1440 | 259.2 | 1699.2 | 5 | 0 | 0 | 0 | 0 | 3 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 200MM DIA Cast Iron Sluice Valve (IS 14846) | NOS | 4 | 640 | 2560 | 460.8 | 3020.8 | 5 | 0 | 0 | 0 | 0 | 4 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 200MM DIA Cast Iron Non Return valve (IS 5312-1) | NOS | 1 | 640 | 640 | 115.2 | 755.2 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 65 mm dia. G I HEAVY " C class" pipe | RMT | 43 | 300 | 12900 | 2322 | 15222 | 5 | 0 | 0 | 0 | 0 | 43 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for ball valve - 25mm Dia. | NOS | 2 | 150 | 300 | 54 | 354 | 5 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | CHARGES FOR M.S. STRUCTURAL WORK (KG) | KG | 2450 | 40 | 98000 | 17640 | 115640 | 5 | 0 | 0 | 0 | 0 | 2450 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for strainer - 200mm Dia. | NOS | 1 | 800 | 800 | 144 | 944 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for Wrapping coating - 80mm Dia. | RMT | 10 | 150 | 1500 | 270 | 1770 | 5 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 100MM Vane Type Water flow Alarm Switch | NOS | 6 | 300 | 1800 | 324 | 2124 | 5 | 0 | 0 | 0 | 0 | 6 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150MM DIA Cast Iron Sluice Valve (IS 14846) | NOS | 1 | 480 | 480 | 86.4 | 566.4 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR pressure switch suitable for 1-10 kg / cm2 | NOS | 5 | 200 | 1000 | 180 | 1180 | 5 | 0 | 0 | 0 | 0 | 5 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR SS BRANCH PIPE WITH NOZZLE (NOS) | NOS | 71 | 50 | 3550 | 639 | 4189 | 5 | 0 | 0 | 0 | 0 | 71 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR SIDE WALL SPRINKLER HEADS (NOS) | NOS | 10 | 50 | 500 | 90 | 590 | 5 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Single headed oblique pattern hydrant landing valve | NOS | 71 | 300 | 21300 | 3834 | 25134 | 5 | 0 | 0 | 0 | 0 | 71 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 2C x1.5 AQMM CABLE | RMT | 20 | 50 | 1000 | 180 | 1180 | 5 | 0 | 0 | 0 | 0 | 20 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | CHARGES FOR 50MM DIA Butterfly valve (Wafer Type) | NOS | 1 | 200 | 200 | 36 | 236 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl2 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR Fire Extinguishers - CO2 (4.5kg) | NOS | 71 | 100 | 7100 | 1278 | 8378 | 5 | 0 | 0 | 0 | 0 | 71 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR Fire Extinguishers 4kgs OR 6kgs | NOS | 82 | 100 | 8200 | 1476 | 9676 | 5 | 0 | 0 | 0 | 0 | 82 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR first aid Fire Hose Reel with accessories | NOS | 60 | 300 | 18000 | 3240 | 21240 | 5 | 0 | 0 | 0 | 0 | 60 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR HORIZONTAL JOCKEY PUMP (NOS) | NOS | 1 | 13000 | 13000 | 2340 | 15340 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR Pendent sprinkler 57 oC TO 77 oC | NOS | 425 | 70 | 29750 | 5355 | 35105 | 5 | 112 | 7840 | 80956.8 | 530716.8 | 313 | -495611.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR Pressure Gauge 100 mm dial & range of 0-20KG/CM2 | NOS | 8 | 200 | 1600 | 288 | 1888 | 5 | 0 | 0 | 0 | 0 | 8 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 80MM DIA Cast Iron Non Return valve (IS 5312-1) | NOS | 1 | 240 | 240 | 43.2 | 283.2 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 80MM Dual plate check valve (Wafer Type) | NOS | 1 | 240 | 240 | 43.2 | 283.2 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR Diesel Driven Fire Main Pump and Motor | SET | 1 | 30000 | 30000 | 5400 | 35400 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR Diesel pump exhaust pipe | RMT | 10 | 300 | 3000 | 540 | 3540 | 5 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR Electric Driven Fire Main Pump and Motor | SET | 2 | 18000 | 36000 | 6480 | 42480 | 5 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR fire brigade suction hose coupling | NOS | 1 | 500 | 500 | 90 | 590 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 3.5C x 70 sq.mm cable | RMT | 20 | 100 | 2000 | 360 | 2360 | 5 | 0 | 0 | 0 | 0 | 20 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 300x50 CABLE TRAY | RMT | 10 | 100 | 1000 | 180 | 1180 | 5 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 4 WAY inlet connection | NOS | 1 | 500 | 500 | 90 | 590 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 65MM DIA Butterfly valve (Wafer Type) | NOS | 2 | 200 | 400 | 72 | 472 | 5 | 1 | 200 | 80956.8 | 530716.8 | 1 | -530244.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 80MM DIA Cat Iron Sluice Valves (IS 14846) | NOS | 2 | 240 | 480 | 86.4 | 566.4 | 5 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 80MM DIA Butterfly valve (Wafer Type) | NOS | 3 | 240 | 720 | 129.6 | 849.6 | 5 | 3 | 720 | 80956.8 | 530716.8 | 0 | -529867.2 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150x50 CABLE TRAY (RMT) | RMT | 10 | 75 | 750 | 135 | 885 | 5 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 200MM DIA Cast Iron Sluice Valve (IS 14846) | NOS | 1 | 640 | 640 | 115.2 | 755.2 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 200MM DIA Cast Iron Non Return valve (IS 5312-1) | NOS | 1 | 640 | 640 | 115.2 | 755.2 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 25MM DIA Forged Brass Air Release Valve | NOS | 3 | 200 | 600 | 108 | 708 | 5 | 0 | 0 | 0 | 0 | 3 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 2C x1.5 AQMM CABLE | RMT | 10 | 50 | 500 | 90 | 590 | 5 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 3.5C x 10 sq.mm cable | RMT | 20 | 50 | 1000 | 180 | 1180 | 5 | 0 | 0 | 0 | 0 | 20 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 50 mm dia. G I HEAVY " C class" pipe | RMT | 40 | 240 | 9600 | 1728 | 11328 | 5 | 40 | 9600 | 80956.8 | 530716.8 | 0 | -519388.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 65 mm dia. G I HEAVY " C class" pipe | RMT | 35 | 300 | 10500 | 1890 | 12390 | 5 | 35 | 10500 | 80956.8 | 530716.8 | 0 | -518326.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 80 mm dia. G I HEAVY " C class" pipe | RMT | 215 | 360 | 77400 | 13932 | 91332 | 5 | 215 | 77400 | 80956.8 | 530716.8 | 0 | -439384.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150MM DIA Cast Iron Sluice Valve (IS 14846) | NOS | 2 | 480 | 960 | 172.8 | 1132.8 | 5 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150MM DIA Butterfly valve (Wafer Type) | NOS | 4 | 480 | 1920 | 345.6 | 2265.6 | 5 | 4 | 1920 | 80956.8 | 530716.8 | 0 | -528451.2 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150MM DIA Cast Iron Non Return valve (IS 5312-1) | NOS | 1 | 480 | 480 | 86.4 | 566.4 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 12 C x1.5 SQMM CABLE | RMT | 10 | 50 | 500 | 90 | 590 | 5 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 150 mm dia. G I HEAVY " C class" pipe | RMT | 561 | 600 | 336600 | 60588 | 397188 | 5 | 405 | 243000 | 80956.8 | 530716.8 | 156 | -133528.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 200 mm dia. G I HEAVY " C class" pipe | RMT | 25 | 500 | 12500 | 2250 | 14750 | 5 | 0 | 0 | 0 | 0 | 25 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 25 mm dia. G I HEAVY " C class" pipe | RMT | 740 | 100 | 74000 | 13320 | 87320 | 5 | 421.32 | 42132 | 80956.8 | 530716.8 | 318.68 | -443396.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 32 mm dia. G I HEAVY " C class" pipe | RMT | 256 | 80 | 20480 | 3686.4 | 24166.4 | 5 | 0 | 0 | 0 | 0 | 256 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 40 mm dia. G I HEAVY " C class" pipe | RMT | 205 | 80 | 16400 | 2952 | 19352 | 5 | 22.1 | 1768 | 80956.8 | 530716.8 | 182.9 | -511364.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | INSPECTION & TESTING ASSEMBLY FOR SPRINKLER DRAIN SYSTEM | NOS | 2 | 500 | 1000 | 180 | 1180 | 5 | 0 | 0 | 0 | 0 | 2 | 0 | FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 100 mm dia. G I HEAVY " C class" pipe | RMT | 218 | 400 | 87200 | 15696 | 102896 | 5 | 80.9 | 32360 | 80956.8 | 530716.8 | 137.1 | -427820.8 | FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 100MM DIA Cast Iron Sluice Valve (IS 14846) | NOS | 6 | 320 | 1920 | 345.6 | 2265.6 | 5 | 0 | 0 | 0 | 0 | 6 | 0 | FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 100MM DIA Cast Iron Non Return valve (IS 5312-1) | NOS | 6 | 320 | 1920 | 345.6 | 2265.6 | 5 | 0 | 0 | 0 | 0 | 6 | 0 | FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 100MM Dual plate check valve (Wafer Type) | NOS | 1 | 3220 | 3220 | 579.6 | 3799.6 | 5 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | LABOR FOR 100MM Vane Type Water flow Alarm Switch | NOS | 2 | 300 | 600 | 108 | 708 | 5 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for Strainer - 150mm Dia. | NOS | 1 | 600 | 600 | 108 | 708 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for strainer - 200mm Dia. | NOS | 1 | 800 | 800 | 144 | 944 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for Wrapping coating - 100mm Dia. | RMT | 25 | 150 | 3750 | 675 | 4425 | 5 | 0 | 0 | 0 | 0 | 25 | 0 | USE FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for Wrapping coating - 150mm Dia. | RMT | 35 | 150 | 5250 | 945 | 6195 | 5 | 0 | 0 | 0 | 0 | 35 | 0 | USE FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for Wrapping coating - 80mm Dia. | RMT | 20 | 150 | 3000 | 540 | 3540 | 5 | 0 | 0 | 0 | 0 | 20 | 0 | USE FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges Orifice plate | NOS | 71 | 100 | 7100 | 1278 | 8378 | 5 | 0 | 0 | 0 | 0 | 71 | 0 | FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for Diesel Engine Starter Panel | SET | 1 | 622 | 622 | 111.96 | 733.96 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for flexible Dropper | NOS | 10 | 70 | 700 | 126 | 826 | 5 | 0 | 0 | 0 | 0 | 10 | 0 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for Hose box | EACH | 71 | 200 | 14200 | 2556 | 16756 | 5 | 0 | 0 | 0 | 0 | 71 | 0 | FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | CHARGES FOR M.S. STRUCTURAL WORK (KG) | KG | 550 | 40 | 22000 | 3960 | 25960 | 5 | 550 | 22000 | 80956.8 | 530716.8 | 0 | -504756.8 |  |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges for MCC Panel for Pump Automation | SET | 1 | 15000 | 15000 | 2700 | 17700 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | VFD considered for Main pump , PLC for DE pump & DOL for Jockey pump. FOR FIRE HYDRANT WORK |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900
GREENWOOD ASPIRE EXP | 186 | 0 | 29 Jul 2022 | FIRESOL | COMMON FIRE & SAFETY WORK | Charges For RRL Hose pipe | NOS | 142 | 50 | 7100 | 1278 | 8378 | 5 | 0 | 0 | 0 | 0 | 142 | 0 | FIRE HYDRANT SYSTEM |  | T.Joshi | pur.nrpl1 | T.Joshi | Construction | 01 Jan 1900